Chemicals for estrogenic compounds in wastewater

NSF 0310976

Estrogenic Compounds in Wastewater

Joseph Colosi Art Kney, Holly Morris

9/17/04

17 -Estradiol (E2).  (Steraloids Cat. no.EO950-000 (phone: 401 848-5422))   formula weight:  272.

Dilution series for standard curve:

10-2 M:  Weigh 0.0272g into sterile, ethanol washed bottle.  Add 10ml of DMSO and mix.

10-4 M Start Solution: Transfer 10μl of the 10-2 M E2 to 990μl DMSO in a sterile, ethanol washed 1.5ml microfuge tube and vortex thoroughly.

10-6 M (S2): Transfer 10μl of the 10-4 M E2 to 990μl  DMSO in a sterile, ethanol washed 1.5ml microfuge tube and vortex thoroughly

Dilution series by 0.5:  Add .5ml (500μl) DMSO to each of 9 sterile, ethanol washed 1.5 ml microfuge tubes.  Transfer 500μl of  10-6 M to the first tube in the series to produce 5.0 X 10-7 M.  Transfer 500μl of 5.0 X 10-7 M to the next tube in the series to produce 2.5 X 10-7 M.  Continuing with the serial dilution yields the following series.

Note:  10-4 M = 1.00E-04 M

Estradiol concentrations for standard curve

| Tube number | Concentration of estradiol for standard curve (Molar) | Final concentration of estradiol after E-03 dilution as per procedure (Molar) |
| --- | --- | --- |
| Start Solution | 1.00 E-04 |  |
| S1 | 1.00 E -06 | 1.00 E -09 |
| S2 | 5.00 E -07 | 5.00 E -10 |
| S3 | 2.50 E -07 | 2.50 E -10 |
| S4 | 1.25 E –07 | 1.25 E –10 |
| S5 | 6.25 E -08 | 6.25 E -11 |
| S6 | 3.125 E -08 | 3.125 E -11 |
| S7 | 1.56 E -08 | 1.56 E -11 |
| S8 | 7.80 E -09 | 7.80 E -12 |
| DMSO | 0 | 0 |

Label two sets (for precision, an a set and a b set)