Chemicals for estrogenic compounds in wastewater

NSF 0310976

Estrogenic Compounds in Wastewater

Joseph Colosi Art Kney, Holly Morris

3/14/06

17 (-Estradiol (E2).  (Steraloids Cat. no.EO950-000 (phone: 401 848-5422))   formula weight:  272 g/mole.

Dilution series for standard curve:

10-2 M:  Weigh 0.0272g into sterile, ethanol washed bottle.  Add 10ml of DMSO and mix.

10-4 M Start Solution: Transfer 10μl of the 10-2 M E2 to 990μl DMSO in a sterile, ethanol washed 1.5ml microfuge tube and vortex thoroughly.

Dilution series by 0.5:  Add .5ml (500μl) DMSO to each of the remaining 11 sterile microfuge, ethanol washed 1.5 ml microfuge tubes.  Transfer 500μl of  10-4 M to the first tube in the series to produce 5.0 X 10-5 M.  Transfer 500μl of 5.0 X 10-5 M to the next tube in the series to produce 2.5 X 10-5 M.  Continuing with the serial dilution yields the following series.

Note:  10-4 M = 1.00E-04 M = 27.2 mg/L of E2

Estradiol concentrations for standard curve

| Tube number | Concentration of estradiol for standard curve (Molar) | Final concentration of estradiol after E-03 (1000 x) dilution as per procedure (Molar) |
| --- | --- | --- |
| DMSO | 0 | 0 |
| S1 | 1.00 E-04 | 1.00 E-07 |
| S2 | 5.00 E -05 | 5.00 E -08 |
| S3 | 2.50 E -05 | 2.50 E -08 |
| S4 | 1.25 E -05 | 1.25 E –08 |
| S5 | 6.25 E -06 | 6.25 E -09 |
| S6 | 3.125 E -06 | 3.125 E -09 |
| S7 | 1.56 E –06 | 1.56 E –09 |
| S8 | 7.81 E -07 | 7.81 E -10 |
| S9 | 3.91 E -07 | 3.91 E -10 |
| S10 | 1.95 E -07 | 1.95 E -10 |
| S11 | 9.77 E -08 | 9.77 E -11 |
| S12 | 4.88 E –08 | 4.88 E –11 |

Label two sets (for precision, an a set and a b set)