# Lafayette College

Department of Civil and Environmental Engineering

CE 423: Water Quality	Spring 2008

## Subject: Homework #1

Due: Tuesday, February 19, 2008

- Determine the molarity of a 25% solution of HCl at 18oC.  Assume the density of HCl is 1.2 kg/L.

- Balance the following reaction
       Fe2+ + Cr2O72- + H2O (( Fe(OH)3(s) + Cr(OH)2+ + H+

- Determine the molarity and mole fraction of 86-proof (43% ethyl alcohol) Wild Turkey whiskey.  Assume the density of the ethyl alcohol (C2H5OH) is 0.79 kg/L.

- Mg(OH)2 reacts with CO2 according to the reaction below.  If 100 g of Mg(OH)2 is reacted, calculate the amount of CO2 used using:

  - Method of equivalent weights.

  - The balanced reaction.
Mg(OH)2 + 2CO2 ( Mg2+ + 2(HCO3)-

- What is the normality of a 1-L solution containing (state all assumptions):

  - 1.25 g H2SO4

  - 5.0 mg H3PO4

  - 6.5 mg Ca(OH)2

  - 10 g H2S

- The analysis for a lake water was given as follows:
  
 		        Ion			mg/L
 		Sodium (Na+)			 46
 		Calcium (Ca2+)		 51
 		Magnesium (Mg2+)		 10
 		Potassium (K+)		 3.7
 		Bicarbonate (HCO3-)		161
 		Sulfate (SO42-)			 102
 		Chloride (Cl-)			 26
 		Fluoride (F-)			 0.4
 		Nitrate (NO3-)			 1.3
 		Iron (Fe2+)			0.04
 		Silica (SiO2)			 27
 		pH				 7.8 (Units)

 	a) Check the chemical charge balance to see how closely the cations balance the anions.
 		For silica, consider the following two case:
 			i)  Silica is non-ionized
 			ii) Silica is ionized and its equivalent weight is 60

 	b) Express the total hardness in
 		i) mg/L as CaCO3
 		ii) mg/L as Ca

 	c)  Estimate the measured value for the total dissolved solids.  The measured TDS is the residue upon complete evaporation at 103oC.  Bicarbonate decomposes at 103oC as follows:

- Construct a milliequivalence bar graph.

- Assume a flow at a home of 5 people is 50 gallons per day per person.  An ion exchanger with a 1.85 meq/mL capacity is chosen to soften the water.  How much resin would be needed such that a regeneration of the resin would be performed once a week?  Calculate the final TDS with the ion exchanger in place.