Lafayette College

CE- 321 Environmental Engineering and Science

#### Short Discussion Questions

##### Easton Wastewater Treatment Plant

## Pick 10 questions and briefly discuss each one with information gathered during the trip to the wastewater treatment plant. (Due one week from class trip)

- Typical flow rate?

- Does Easton have a combined sewer system?  If so how do storms affect the treatment process?

- Discuss various treatment steps at a typical WWTP.

- What chemicals, if any, are added and why?

- Which river is the treated water emptied into?  Compare the river flow to the effluent flow.

- Is chlorine used in any part of this treatment?  If so why?

- If chlorine enters the stream or river that the wastewater is being dumped into, will it affect it?  If so what precautions can be taken to avoid problems.

- Are there any water treatment plants down stream, if so how far?

- Have any particular microorganisms ever caused a problem in the activated sludge process?

- What is the difference between an oxidation ditch and a conventional activated sludge reactor?

- What is the average BOD5 entering the EWWTP and the average BOD5 leaving the plant?

- Has this plant ever been washed out, poisoned, or failed at anytime in the past.  Is so, how was the problem dealt with?

- Why does a management company run the EWWTP and not the city?  Is this common?

- What is the most dramatic event(s) that has taken place at this particular treatment plant in the past 20 years?

- What up-grades will have to be made over the next 5 years to comply with EPA, DEP and local regulations?

- How is the sludge stabilized and what is done with the sludge after it is stabilized?

- Are there any anaerobic zones throughout the oxidation ditch or is it entirely an aerobic process?  If there is an anaerobic zone, what treatment process might the zone aid in?