# Lafayette College

Department of Civil and Environmental Engineering

CE 321: Environmental Engineering and Science	Fall 2019

Homework #4

Due: Monday, 9/23/19

- A completely mixed reactor has an influent flow rate of 100 gal/min (380 l/min).  The BOD concentration (nonconservative pollutant) of the wastewater entering the reactor is 150 mg/L.  The detention time of the reactor is 2 hours.  The reaction is first order, therefore the rate equation is  and the rate constant is 0.40 hr-1.

  - What is the volume of the reactor?  Report your answer in gallons.

  - Assuming the initial concentration of the reactor is 0 mg/L and a BOD of concentration 150 mg/L added at time 0, what is the concentration of the pollutant in the reactor after 2 hours?

  - What is the concentration of the BOD leaving the reactor after 2 hours?

  - What is the concentration of the BOD within the reactor assuming it reaches steady state?

  - Assume that there was no flow in or out of the reactor and the BOD was initially 150 mg/L.  What is the concentration of the BOD after 2 hours?

- It is found that the flow rate of a nickel plating system is too high.  A countercurrent rinse system, shown below, is recommended in order to reduce the flow rate.  Assuming that the Cn concentration remains at 28 mg/L, just as it was in the original plating system, estimate the new flow rate of the rinse water.  Assume that the rinse tank is completely mixed and that no reactions take place in the rinse tank.

- A sewage lagoon that has a surface area of 10 ha and a depth of 1 m is receiving 8640 m3/d of sewage containing 100 mg/L of biodegradable contaminant.  At steady state, the effluent from the lagoon must not exceed 20 mg/L of biodegradable contaminant.  Assuming the lagoon is well mixed and that there are no losses or gains of water in the lagoon other then the sewage input, what biodegradation reaction rate coefficient (d-1) must be achieved for a first order reaction.  (Answer: k = 0.35 d-1)

- A CMFR is used to treat an industrial waste product, using a reaction that destroys the pollutant according to first-order kinetics, with k=0.216 d-1.  The reactor volume is 500 m3, the volumetric flow rate of the single inlet and exit is 50 m3 day-1, and the inlet pollutant concentration is 100 mg L-1.

  - Assuming the CMFR has reached steady state, what is the outlet concentration after treatment?  State your answer in units of mg/L.

  - The manufacturing process that generates the waste in Part A has to be shut down, and, starting at t=0, the concentration of Cin entering the CMFR is set to 0.

    - How many hours does it take the tank concentration to reach 10% of the initial, steady-state value (i.e., SS value from Part a)?

    - How many hours does it take to reach steady state?

  - A plug-flow reactor (PFR) is used to model the chemical transformation of the waste product presented in Part A.  Assume that the flow rate and the first-order decay rate constant are unchanged (Q = 50 m3 day-1, k = 0.216 day-1).  Based on this information answer the following.

    - What is the volume required for the PFR to obtain the same degree of pollutant reduction as the CMFR of Part A?  Report your answer in m3.

    - What is the % reduction in volume as compared to the volume of the CMFR for the same steady-state conditions?

- For the following conditions determine whether a CMFR or a PFR is more efficient in removing a reactive compound from the waste stream under steady-state conditions with a first-order reaction: reactor volume = 280 m3, flow rate 14 m3/day, and reaction rate coefficient = 0.05 d-1.

- You are working for the Michigan Department of Environmental Quality (DEQ) and must issue a discharge permit to a certain industry.  The industry wishes to discharge “green muck” into the Icikold River.  The flow of waste water from the industry is 0.15 m3/s.  The flow of water in the Icikold River (upstream from the waste water outfall) is 0.25 m3/s.  Upstream of the outfall, the concentration of “green muck” in the river is 0.1 mg/L.
What is the maximum concentration the industry can discharge if the concentration of “green muck” in the river (after mixing) cannot exceed 2.5 mg/L?

# Text boxes

Q = 0.05 L/min

Cn = 28 mg/L

Q = 0.05 L/min

Cn – 1 = ?

Q = 0.05 L/min

Cin = 85 g/L

Parts Flow

Rinse Water

Rinse Bath

n - 1

Plating Bath

85 g/L

Rinse Bath

n

Q = ?

C = 0

Q = ?

Cn – 1 = ?