# Lafayette College

Department of Civil and Environmental Engineering

CE 321: Introduction to Environmental Engineering and Science	Fall 2019

Homework #9

### Due: Friday, 11/15/19

- Differentiate between water quality regulations and drinking water regulations.  Briefly review the evolution of the water quality regulations in the United States.

- A water sample is found to contain the following:
 	pH = 8.2
 	Na+ = 14 mg/L
 	Ca+2 =15 mg/L
 	Mg+2 = 12 mg/L
 	Sr+2 = 2 mg/L
 	K+ = 13 mg/L
 	HCO3- = 80 mg/L
 	NO3- = 9 mg/L
 	Cl- = 28 mg/L
 	SO4-2 = 45 mg/L
What is the TDS, conductivity, and alkalinity of this sample.  Express your alkalinity result as mg/L of CaCO3.

- A water treatment plant has reported that a TC test has come up positive (20 colonies counted).  What does this mean and what do the technicians need to do?  Explain you answer in detail, including an explanation of the reported 20 colonies.

- Jerome Thumbly, a new C.E. student at Lafayette, has conducted a solids test on a water sample.  From his data find the TOTAL FILTERABLE SOLIDS of the sample.

Test No. 1 (Total Solids Data):

Sample = 500 ml.

Tare wt. = 18.428 g

weight @ 105oC = 18.947 g

weight @ 550oC = 18.928 g

Test No. 2 (Suspended Solids Data):

Sample = 500 ml.

Tare wt. = 17.921 g (Gooch crucible w/fritted glass disk)

weight @ 105oC = 18.243 g
weight @ 550oC = 18.238 g

5) What is the drinking water standard for turbidity based on the most current EPA drinking water regulations (include the web-page information). – Provide information from CFR.